| Variable | n | Mean difference, ° [min, max] | LoA width, ° [max] | % of the gait cycle |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Acceptable | Group level only | Systematic bias |
| Pelvis Obliquity | 23 | 0.8 [-3.4, 4.9] | 6.7 [8.3] | 50 | 50 | 0 |
| Knee Varus | 23 | -1.9 [-5.4, 0.9] | 12.9 [25.0] | 22 | 74 | 4 |
| Hip Adduction | 23 | 2.4 [-2.4, 6.5] | 11.4 [12.9] | 3 | 82 | 15 |
| Knee Flexion | 23 | -0.3 [-5.7, 5.1] | 11.4 [15.2] | 1 | 89 | 10 |
| Ankle Dorsiflexion | 23 | 3.4 [1.2, 8.4] | 8.6 [13.4] | 0 | 82 | 18 |
| Foot Progression | 23 | 5.5 [3.8, 7.1] | 11.2 [19.2] | 0 | 40 | 60 |
| Pelvis Rotation | 23 | 0.5 [-3.7, 5.0] | 11.2 [13.2] | 0 | 99 | 1 |
| Ankle Inversion | 23 | -4.9 [-11.3, 11.0] | 14.4 [51.2] | 0 | 18 | 82 |
| Pelvis Anterior Tilt | 23 | 1.8 [-0.0, 4.2] | 21.6 [22.5] | 0 | 100 | 0 |
| Hip Flexion | 23 | 0.0 [-4.9, 5.0] | 23.2 [25.8] | 0 | 98 | 2 |
| Ankle Rotation | 23 | 3.9 [-5.3, 11.3] | 23.6 [29.6] | 0 | 45 | 55 |
| Hip Rotation | 23 | -1.0 [-8.9, 5.3] | 28.8 [32.9] | 0 | 76 | 24 |
| Mean of the variables |  | – | 15.4 | 6 | 71 | 23 |

Pointwise functional limits of agreement (LoA): mean difference (marker-based − markerless) ± 1.96 SD of the participant differences at each of 101 points of the gait cycle. Mean difference: average over the cycle [minimum, maximum]. LoA width (upper − lower LoA): average over the cycle [maximum]. Outcomes are the percentage of the gait cycle with the LoA inside ±5° (acceptable), the LoA exceeding a bound but the mean difference inside ±5° (group level only), or the mean difference beyond ±5° (systematic bias). Percentages are rounded.